# Specifications

- Structure designed for the highest seismic considerations of Zone-V, against Zone-IV as stipulated by the BIS codes, for better safety.

- Air Conditioned Apartments with energy efficient VRV / VRF system.

- Air Conditioned Lift Lobbies and Entrance Halls.

- High speed Passenger Elevators

- Eco friendly environment with Rain Water Harvesting system and use of recycled water from Central STP for flushing.

- Hot Water Supply through geysers in Toilets, Kitchens, supplemented through Solar Water Heaters.

| Living/Dining/Passage & Lobby within Apartment |  |
| --- | --- |
| Floors | Imported Marble. |
| Walls | Acrylic Emulsion paint on POP punning. |
| Ceiling | Acrylic Emulsion paint with limited false ceiling and cornices. |
| Bedrooms |  |
| Floor | Imported Laminated wooden flooring. |
| Walls | Acrylic Emulsion paint on POP punning. |
| Ceiling | Acrylic Emulsion paint with limited false ceiling and cornices. |
| Modular Wardrobes | Modular wardrobes of standard make in all the Bedrooms, except in the Utility/S. Room. |
| Kitchen |  |
| Walls | Tiles up to 2'-0" above counter and Acrylic Emulsion paint in the balance area |
| Floor | Anti-skid Tiles. |
| Ceiling | Acrylic Emulsion paint. |
| Counter | Granite. |
| Fittings/Fixtures | CP fittings, Double bowl SS Sink, Exhaust fan. |
| Kitchen Appliances | Fully equipped Modular Kitchen with Hob, Chimney, Oven, Microwave, Dishwasher, Refrigerator and Washing Machine of a Standard make and a reputed manufacturer. |
| Balcony |  |
| Floor | Terrazzo / Stone / Anti-kid Ceramic Tiles. |
| Ceiling | Exterior paint. |
| Toilets |  |
| Walls | Combination of Tiles, Acrylic Emulsion paint and Mirror. Stone / Tiles for Master Bath. |
| Floors | Anti-skid Tiles. Stone / Tiles for Master Bath. |
| Ceiling | Acrylic Emulsion paint (with false ceiling and cornices in limited areas). |
| Counters | Marble/Granite. |
| Fixtures/Accessories | Glass shower-partition in Toilets and Under Counter Cabinets, Exhaust fan, Towel rail / Rack, Toilet paper holder, Soap dish of standard make. |
| Sanitary ware/ CP fittings | Jacuzzi in Master Bath, Single Lever CP fittings, Wash Basin & Wall-Hung WC, Health Faucet of Kohler/Roca/Parry ware or equivalent brands. |
| Plumbing | Copper piping for water supply inside the toilet and kitchen & UPVC pipes for stacks. |
| Fire Fighting System | Fire Fighting System with sprinklers, smoke detection systems, etc. as per NBC norms. |
| Utility/S. Room |  |
| Floor | Terrazzo |
| Walls & Ceiling | Oil bound distemper |
| Toilets | Ceramic Tile Flooring and Cladding, conventional CP Fittings and Chinaware. |
| Doors |  |
| Internal doors | Painted Hardwood frame with Painted flush door/moulded skin Shutters. |
| Entrance doors | Polished Harwood Frame with veneered and Polished flush door shutter. |
| External Glazings |  |
| Window/External Glazings Energy Efficient, Sound insulating Double glass units with-tinted/ reflective or clear glass with UPVC /powder coated Aluminium Frames in habitable rooms and UPVC /Aluminium with Single, Pinhead/Tinted/Clear glass in all toilets and S. Rooms. |  |
| Electricals |  |
| Fixtures/Fittings Modular switches of Northwest/ Crabtree or equivalent make and copper wiring, ceiling fans in all Rooms and ceiling light fitting in Toilets (except for S. Room's Toilets), Balconies and Passages only. |  |
| Power Back-up |  |
| 100% DG Power back-up for all the Apartments and common areas. Back up power not exceeding15 KVA for each apartment. |  |
| Security System |  |
| Secured Gated Community with access Control at Entrances and CCTV for Parking Area and Entrance Lobby at Ground Floor. |  |
| Lift Lobby |  |
| Lift Lobby Floor | Combination of one or more of Marble/Granite. |
| Lift Lobby Walls | Combination of Marble/Granite and Acrylic Emulsion, Textured paint, embellished with mirror. |
| Staircases |  |
| Floor | Terrazzo |
| Walls | Flat Oil Paint. |
| Common Recreational Facilities |  |
| • Exclusive club with swimming pool • Multi-purpose halls • Change rooms • Steam • Sauna • Gymnasium. |  |

Disclaimer: Marble/ Granite being natural material have inherent characteristics of color and grain variations. Utility/ Servant's room shall not be provided with air conditioning and double glass glazing for window. Specifications are indicative and are subject to change as decided by the Company or Competent Authority. Marginal variations may be necessary during construction. The extent/number/variety of the equipments/ appliances and their make/brand thereof are tentative and liable to change at sole discretion of the Company. Applicant/ Allottee shall not have any right to raise objection in this regard.